# Name of Laboratory:

A biosafety inspection of your laboratory is scheduled for:  Tues.  Jan 20, 2004   @  9:00  AM

Biosafety Levels for bacteria, viruses, parasites and fungi can be verified via the American Type Culture Collection internet site: www.atcc.org. or  the  American Biological  Safety  Association (ABSA) website:  www.absa.org.

The microbiology laboratory has a copy of the CDC/NIH Guideline: Biosafety in Microbiological and Biomedical Laboratories.  4th Edition.   The BL2 laboratory:

- has a sink with soap for hand washing; paper towel is not stored next to waste.

- an eye wash that is flushed at least monthly and a written record maintained (or a faucet mounted eye wash without written record);

- has a  biohazard  warning  sign  on the laboratory door;

- has  biohazard  labels  on the incubator,  refrigerator  or freezer  where cultures are stored;  Food and drinks are not allowed in the laboratory.

- Work surfaces are decontaminated daily;  Mouth pipetting is prohibited.

- A dust pan and brush (or forceps)  are available for picking up broken glass;

- Lab coats are worn and  not  taken home for laundering;  laundry service is provided; meet NFPA standards if used near open flame;

- Access to the laboratory is limited or restricted.

- Latex  gloves  and  safety  glasses are available;

- Benchtops are impervious to water and resistant to acids ( Formica or equivalent );

- Chairs are a non-fabric material that can be decontaminated. No exposed padding.

- Windows are fitted with fly screen or kept closed;

- Written emergency procedure (outline) is posted on the lab wall - indicating immediate steps to be taken in the event of an exposure (i.e., use eye wash;  wash skin with antiseptic soap, then use antiseptic such as 70 % ethanol, Betadine, etc., notify instructor; call 911 for chemical exposure, etc.);

- Caustic chemicals are not stored above  eye level;

- Incompatible chemicals are stored separately (acids separate from bases)

- A flammable liquid storage cabinet is used for quantities greater than 10 gallons;  caustic chemicals are not stored with flammable liquids in a flammable liquid storage cabinet.

- Large compressed gas cylinders are properly secured.

- Infectious waste is taken away by a licensed hauler or as specified by DEP regulations. Infectious waste disposal box is not stored beneath the lab coat rack.

- Sink faucets fitted with a  hose should have a backflow preventer, or the hose should not reach below the maximum water height.

- BL2 work can be performed on the open bench.   A biological safety cabinet  does not have to be serviced annually if it is not used.  It should be inspected and certified annually if it is used.  Chemical fume hoods may not be used as biological safety cabinets.

- Safety training is provided to all new employees and when new procedures or infectious agents are introduced.  Immunization is provided or offered as needed ( i.e. hepatitis B vaccine or TB skin testing when applicable).